AdmarNeuro

Client & Workflow Training Manual

Training Guide

| Date: | February 2026 |
| --- | --- |
| Version: | 1.0 |

# Table of Contents

1. Product Knowledge & Website Overview

2. Handling Client Requests & Escalation Rules

3. HubSpot Pipeline: Orders (Sales to Clients)

4. HubSpot Pipeline: Inventory Refurbish

5. QuickBooks Online: Estimates, Invoices & Purchase Orders

6. FedEx Shipping Procedures

7. Quick Reference Card

# 1. Product Knowledge & Website Overview

## Purpose

Understand what AdmarNeuro sells so you can answer basic customer questions and direct inquiries appropriately.

## Training Steps

- Open admarneuro.com together and explore the main navigation

- Review main product categories (EEG systems, EMG equipment, accessories)

- Familiarize yourself with the key manufacturers we work with

## Key Manufacturers

| Manufacturer | Primary Products |
| --- | --- |
| Cadwell | EMG and EEG diagnostic systems |
| Natus | Neurodiagnostic equipment, monitoring systems |
| Nihon Kohden | Patient monitoring equipment |
| XLTEK | EEG and Long-Term Monitoring (LTM) systems |

Quick Tip: If a customer asks about a product you don't recognize, check the website first, then escalate to a senior team member if needed.

# 2. Handling Client Requests & Escalation Rules

## Purpose

Know what you can handle independently versus what requires creating a ticket or escalating to management.

## Requests You CAN Handle (Basic Requests)

- Order status inquiries → Check HubSpot deal stage

- Tracking number requests → Check FedEx or HubSpot notes

- Basic product availability → Check inventory pipeline

- Price quotes for standard items → Use existing estimates as templates

- Invoice copies → Pull from QuickBooks

## Requests Requiring Escalation

| Situation | Action Required |
| --- | --- |
| Customer reports equipment malfunction | Have Customer Create Repair Ticket in HubSpot |
| Technical questions about setup/compatibility | Have Customer Create Tech Support Ticket |
| Warranty claims | Confirm Order History and Serial Number via HubSpot and/or QuickBooks |
| Custom quotes or large orders | Check QuickBooks/Website for previous quotes. Create an estimate on QuickBooks |
| Customer complaints or disputes | Understand the issue, locate HubSpot ticket in question, document concern, Escalate to Manager |

### How to Create a Ticket in HubSpot

- Navigate to HubSpot → Tickets → Create ticket

- Select ticket type: Repair or Tech Support

- Associate the ticket with the relevant contact and/or company

- Add detailed notes documenting the customer's issue

- Assign to the appropriate team member

# 3. HubSpot Pipeline: Orders (Sales to Clients)

## Purpose

To establish guidelines for receiving orders, processing deals through HubSpot, and sending equipment to customers.

## Required Tools

- Laptop with internet connection

- Printer

- Packing materials

## Pipeline Stages

Invoiced → New Sale-Paid → Prep-QC-Test → Packed-Label → Released → System Setup → Complete

### Stage 1: Invoiced

- Once an order has been placed, a HubSpot deal is created

- Include the equipment and serial numbers the customer is purchasing

- Monitor for payment confirmation

### Stage 2: New Sale - Paid

- When the invoice has been paid, move the deal to NEW SALE - PAID

- Paste the invoice number into the notes section

- Tag @service to create a FedEx label if one has not already been created

### Stage 3: Prep - QC - Test (Pre-Delivery Inspection)

After payment is confirmed, a technician is assigned and the deal moves to PREP - QC - TEST for pre-delivery inspection (PDI). The technician will confirm:

- All equipment is in working condition

- No patient data remains on the equipment

- Test EMG, Sensory, and Median functions

- Ensure reports generate correctly

- Verify RemoteUtilities™ is installed

- Confirm stim operation is normal with no visible damage

- Verify amp operation and conduct visual inspection

- Check base unit is fully functional; cable ports are free from obstruction

- Inspect all cables for damage

### Stage 4: Packed - Label

- After successful testing, equipment is packed neatly in a double-wall box with adequate protection material

- The assigned tech moves the deal to PACKED - LABEL

- Generate and attach packing list

- Verify all components are included and nothing is missing

- Retrieve tracking number from FedEx website or tracking label

### Stage 5: Released

- Complete packing the shipment

- Attach the shipping label

- Stage for FedEx pickup

- Move the deal to RELEASED

### Stage 6: System Setup

- Once the new system has been delivered, move the deal to SYSTEM SETUP

- A tech support team member reaches out to the customer to ensure they received the equipment

- Provide assistance with equipment setup if needed

### Stage 7: Complete

- Once the customer confirms satisfaction, move the deal to COMPLETE

- Follow up for feedback if appropriate

# 4. HubSpot Pipeline: Inventory Refurbish

## Purpose

To establish guidelines for purchasing, receiving, testing, and processing equipment to inventory as ready for sale.

Relevant Department: Service Department

## Purchasing

There are two forms of intake, processed in QuickBooks depending on how they were purchased. Enter after equipment is received and inventory is taken.

| Type | Description |
| --- | --- |
| Expense | Credit card purchase - eBay, DotMed, auction, or one-time card purchase |
| Purchase Order | Direct vendor (Net15 on all purchased equipment unless otherwise specified) |

### Processing an Expense in QuickBooks

- Navigate to Expenses and Bills → Expense Transaction

- At top left dropdown, choose Expenses

- Locate the expense (visible once credit card payment has processed)

- Edit the expense:

  - Payee: Select vendor (create new if needed)

  - Category: Choose "Inventory"

  - Product/Service: Enter equipment (rate divided among items to equal total)

- Save and Close

- Update notes in HubSpot once entered and associated

### Processing a Purchase Order in QuickBooks

- Navigate to Expenses and Bills → Expense Transaction

- At top left dropdown, choose Purchase Order

- Or use dropdown on right side labeled "New Transaction" → Purchase Order

- Complete the PO:

  - Payee: Select vendor (create new if needed)

  - Category: Choose "Inventory"

  - Product/Service: Enter equipment to rotate into inventory

- Copy to Bill - This puts the products into inventory

- Save and Send - Informs vendor to expect payment within 15 days

## HubSpot Workflow

The newly acquired inventory will be moved through a process within HubSpot 'deals.'

### Creating a New Inventory Deal

- Once a new device is purchased, enter in "Inventory Refurbished" → Create deal

- Deal name: Customer name and equipment being purchased

- Pipeline: Remains in "Item Needed" for PO until shipped; set to "Paid" if expense

- Order type: Purchase

- Click Create

## Pipeline Stages

Item Needed → Paid → Label Shipped → Received → Repair in Process → Ready → Consignment → Moved to Inventory

### Stage: Received

A team member will open the package and document all items in HubSpot once the ticket is moved to RECEIVED.

- Document items including: Manufacturer, Model, Device, and Serial Number

- Document and photograph any visible damage to shipping box or contents

- Stage newly received items for testing

- Assign to a tech in HubSpot

- Once testing begins, document any issues found and progress to REPAIR IN PROCESS

### Stage: Repair In Process

All items received will need preventative maintenance (PM) performed. This allows for cleaning of internal components and checking for any obvious signs of wear or damage.

Preventative Maintenance Checklist:

- Check for damages and any missing parts

- Clean the device inside and out

- Refresh any cold solder joints

- Test functionality of any switches, keys, or buttons

- Using a multimeter, test the grounding and all main points of conductivity

- Check all cables for continuity

- Check boards for damaged traces and components

- Clean the fan and verify it is functioning properly and quiet

- Reapply thermal paste to all chips with heatsinks

- Check for any signs of overheating

- If repairs are needed, document in HubSpot

Once testing and any applicable repairs are complete:

- Apply a GREEN QC sticker

- Move the ticket to the READY column

- Tag @service in notes indicating the equipment is ready for inventory

GREEN = READY FOR INVENTORY/SALE Equipment with a green QC sticker has passed all tests and is cleared for sale.

### Stage: Moved to Inventory

@service will complete the final inventory steps:

- Record the inventory in the Excel inventory sheet

- Confirm a PO or expense was processed in QuickBooks

- Confirm equipment has been moved to its designated location

- Progress ticket to MOVED TO INVENTORY

# 5. QuickBooks Online: Estimates, Invoices & Purchase Orders

## Creating an Estimate

Use estimates to provide price quotes to customers before they commit to a purchase.

- Navigate to QuickBooks → Sales → Estimates → Create estimate

- Select the customer (or create a new customer record)

- Add line items: Product/service, Description, Quantity, Rate

- Add any relevant notes or terms

- Save and send (or save as draft for review)

## Converting an Estimate to an Invoice

- Open the existing estimate

- Click "Create invoice"

- Review all details for accuracy

- Adjust if needed (partial invoice, quantity changes, etc.)

- Save and send to customer

## Creating a Purchase Order (PO)

Use purchase orders when ordering equipment or supplies from vendors.

- Navigate to QuickBooks → Expenses → Purchase Orders → Create PO

- Select the vendor

- Add items being ordered with descriptions and quantities

- Include the shipping address

- Save and send to vendor

Important: Always link the PO to the corresponding HubSpot deal in the notes section for cross-reference.

# 6. FedEx Shipping Procedures

## Creating a Shipment in FedEx Ship Manager

- Log in to FedEx Ship Manager

- Enter recipient details (pull shipping address from HubSpot)

- Select service level (Ground, Express, 2-Day, etc.)

- Enter package weight and dimensions

- Print the shipping label

- Copy the tracking number back to the HubSpot deal notes

## Common Shipping Scenarios

| Scenario | Action |
| --- | --- |
| Customer needs tracking number | Check HubSpot deal notes or FedEx history |
| Return shipment needed | Create return label in FedEx, email to customer |
| Shipment delayed or lost | Contact FedEx support, escalate to manager |

# 7. Quick Reference Card

Keep this reference handy for quick lookups during daily operations.

## Task-to-System Guide

| Task | System |
| --- | --- |
| Check order status | HubSpot |
| Create estimate or invoice | QuickBooks Online |
| Create purchase order | QuickBooks Online |
| Process expense (credit card purchase) | QuickBooks Online |
| Ship an order | FedEx Ship Manager |
| Log a technical issue | HubSpot Tickets |
| Track inventory refurbishment | HubSpot (Inventory Refurbished) |
| Record final inventory | Excel Inventory Sheet |
| Product questions | admarneuro.com first |
| Client Outreach | Aircall |
| Internal Questions | Whatsapp |

End of Training Manual

For questions or updates to this document, contact your supervisor.